## Slide 1: Triglyceride

## Slide 2
Triglycerides are the most abundant glycerol esters & encompass 95% of all fat stored in the body adipose tissue.
Triglyceride transported by VLDL & Chylomicrons
Triglyceride produced in the liver by using glycerol and other fatty acid as building blocks.
Triglyceride act as a storage store source for energy.

## Slide 3: Interfering factors
1-Ingestion of fatty meals may cause elevated triglycerides.
2-Drining alcohol may cause elevated triglyceride.
3-Pregnancy may cause high level of triglyceride
4-Estrogen & oral contraceptives cause high level of triglyceride
5-Ascorbic acid ,clofibrate &colestipol causing low level of triglyceride

## Slide 4
Triglyceride rises in the following cases:-
1-Cardiovascular disease
2-Hypothyrodisim
3-Hyperlipedemia
4-Nephrotic syndrom
5-Alcoholic crrihosis
6-Diabetes
7-Pregnancy

## Slide 5
Low Triglycerides occurs in the following cases:-
1-Malabsorption
2-Malnutrition
3-Hyperthyrodisim
4-Liver disease

## Slide 6: Metabolism
Triglycerides are removed by lipoprotein lipase & transfer in to LDL which contain a large amount of cholesterol and it is ester. LDL is then transport in to the cells.
In adipose tissue triglycerides formation and breakdown both.
Adipose tissue is mobile to re_use glycerol formed as a result of hydrolysis of triglyceride.
Most of free fatty acid in plasma derived from triglyceride of adipose tissue.

## Slide 7: Estimation
Patient preparation:
12 hours fasting or more
Specimen collection:-
Serum,plasma (heparinzed plasma used only)
Specimen storage:-
4 C˚ for 7 days 20 C˚for 90 days thawed samples should be mixed well and brought to room temprature before analysis

## Slide 8
Reference range:-
40-160 mg/dl male
39-135 mg/dl female
Methods:-
Methods measure free glycerol by a variety of coupled enzymes

## Slide 9
Reagents:-
Reagent 1:- stander glycerol
Reagent 2-Triglyceride bufer PH 7.6 ,100 mmol/L parachlorophenol ,2.7 mmol/L magnesium
Reagent3:- Amino antipyrine>0.4 mmol/L,lipase1000 u/L,glycerokinase > 200u/L,glycerol 3 phosphate oxodase>2000u/L,peroxidase>200 u/L,ATP 0.8 mmol/L