Identification of  Datura Alkaloids  By Chromatography:

- By the use of thin layer chromatography (T.L.C)

- The stationary phase = Silica gel G.

- The mobile phase = Butanone: Methanol: Ammonia (60:70:10)

Or      Acetone: Water: Ammonia (90:7:3).

- The standard compound = atropine or hyoscine.

- The spray reagent = Dragendorff's reagent.

- Mechanism of separation = Adsorption.

- Developing = Ascending.

- Other mobile phases :

Chloroform: Acetone: Diethyl amine (50:40:10),

Chloroform: Diethyl amine (90:10).

Procedure:

- Prepare 100ml of mobile phase, and place it in the glass tank.

- Cover the tank with glass lid and allow standing for 45 minutes before use.

- Apply the sample and the standard spots on the silica gel plates, on the base line by the use of capillary tube.

- Put the silica gel plate in the glass tank and allow the mobile phase to rise to about two-third the plate.

- Remove the plate from the tank, and allow drying, and then spray with the spraying reagent.

Datura stramonium

Study problems:

Give the reason of :

- Using the reflux in extraction the tropane alkaloid from datura stramonium.

- Making the evaporation step after filteration?

- Addition  of 2% HCl to the alcoholic extract?

- Addition of ammonium hydroxide?

- Using of chloroform in partitioning step?